## Panel6xxCodes
6xx Command/Response Message Codes
Hex | Name | Comments | Not Encrypted | Encrypted
0x00 | CpuHeartbeat
0x01 | RecalibrateIoCommand1 | Recalibrate
0x02 | RecalibrateIoCommand2 | Recalibrate
0x03 | ResponseAck | Load Reader/Schedules/Etc.
0x04 | ResponseNack
0x05 | EventCardAreaChange | Passback Events between panels
0x06 | CommandResetCpu | Reset Command (Loop Diags)
0x07 | ResponseResetCpu | nothing
0x08 | CommandBeginFlashLoad | Load Flash
0x09 | EventAlarmIOGroupChange | Input - Output Across Panels
0x0A | ResponseReaderPortStatus | Reader Device Status
0x0B | ResponseInputDeviceStatus | Input Device Status
0x0C | CommandLoadBoardSectionNodeData | Load Reader/Inputs/Outputs
0x0D | CommandLoadAccessGroupSchedulesForDoor | Load reader access rules
0x0E | CommandLoadTimeSchedule15MinuteFormat | Load 15 minute time schedule
0x0F | ResponseCardCommand | Load Cards
0x10 | CommandLoadStandardCards | Load Cards (Test both standard and extended modes)
0x11 | CommandDeleteCard | Delete card
0x12 | CommandLoadAccessGroupSchedule | Load Access Groups
0x13 | CommandClearTimeSchedules | Load schedules
0x14 | CommandClearAllUsers | Delete all cards
0x15 | CommandClearAccessGroupRange | Load Access Groups
0x16 | CommandLoadAccessGroupsCrisisGroups | Load Access Groups (test crisis mode)
0x17 | CommandSetDateTime | Ensure log message times are correct
0x18 | CommandPing | Ping via loop diagnostics
0x19 | CommandLoad15MinuteScheduleHolidayTable | Load 15 minute holidays
0x1A | CommandPanelInquire | Get Controller Info
0x1B | ResponsePanelInquire | Get Controller Info
0x1C | CommandRequestTotalCardCount | Get Total Card Count
0x1D | ResponseTotalCardCount | Get Total Card Count
0x1E | InternalPanelRecalibrateEvent | Recalibrate
0x1F | PanelRecalibrateComplete | Recalibrate
0x21 | CommandUnlockDoor | Door Unlock Command
0x22 | CommandLockDoor | Lock Door Command
0x23 | CommandDisableDoor | Disable Door Command
0x24 | CommandEnableDoor | Enable Door Command
0x25 | CommandPulseDoor | Pulse Command
0x26 | CommandUnlockDoorGroup | Door Group Commands
0x27 | CommandLockDoorGroup | Door Group Commands
0x28 | CommandDisableDoorGroup | Door Group Commands
0x29 | CommandEnableDoorGroup | Door Group Commands
0x2A | CommandRelay2Off | Turn R2 off (door command)
0x2B | CommandRequestReaderPortStatus | Reader Device Status
0x2D | CommandRelay2On | Turn R2 on (door command)
0x2E | CommandSetLedTemporaryState | nothing
0x30 | CommandShuntIOGroup | IO Group Commands
0x31 | CommandUnshuntIOGroup | IO Group Commands
0x32 | CommandDisableInput | Input Commands
0x33 | CommandEnableInput | Input Commands
0x34 | CommandArmIOGroup | IO Group Commands
0x35 | CommandDisarmIOGroup | IO Group Commands
0x36 | CommandShuntInput | Input Commands
0x37 | CommandUnshuntInput | Input Commands
0x38 | CommandRequestInputStatus | Input Device Status
0x3C | ResponseInputVoltages | DIO Input Voltages
0x40 | CommandOutputOn | Output Commands
0x41 | CommandOutputOff | Output Commands
0x42 | CommandOutputEnable | Output Commands
0x43 | CommandOutputDisable | Output Commands
0x48 | CommandRequestOutputStatus | Output Device Status
0x49 | ResponseReaderPortOutputStatus | Output Device Status - can't test
0x4A | ResponseOutputRelayModuleOutputStatus | Output Device Status -Relay Board Outputs
0x4B | ResponseAlarmMonitoringModuleGeneralPurposeIOOutputStatus | Output Device Status - DIO Relays
0x4C | ResponseElevatorModuleOutputStatus | Elevator Relay Output Device Status
0x50 | CommandElevatorPulse | Elevator Commands
0x51 | CommandElevatorEarlyOn | Elevator Commands
0x52 | CommandElevatorEarlyOff | Elevator Commands
0x53 | CommandElevatorCancelEarlyOn | Elevator Commands
0x54 | CommandElevatorCancelEarlyOff | Elevator Commands
0x55 | ResponseElevatorCommand | Elevator Commands
0x57 | CommandLoadPersonalDoors | Load Personal Door (Test mulitple doors on multiple panels, including High # panels ( 256 - 65535)
0x60 | ActivityLogMessage | Basic log message
0x61 | CommandLoggingSetOnOff | Start/Stop Logging via Loop Diagnostics
0x62 | CommandLoggingResetPointers | Clear Buffer command
0x63 | CommandLoggingAcknowledgeToMessageIndex | Log buffer counter will reset when this is sent
0x65 | CommandSignOnChallenge | If panel authenticates, this is working
0x66 | ResponseSignOnChallenge | If panel authenticates, this is working
0x67 | CommandRequestConnectedBoardInformation | Get board info
0x68 | ResponseSignOnDenied | Can't easily test
0x6A | CommandLoadTimeAdjustment | don’t worry about this
0x6D | CommandSetCardLoadAcknowledgePanel | don’t worry about this
0x6E | CommandRequestLoggingInformation | Get Logging Info
0x6F | ResponseRequestLoggingInformation | Get Logging Info
0x70 | CommandLoadTamperAcFailureLowBattery | Load Controller Settings
0x71 | CommandLoadABAOptions | Load Global Settings
0x72 | CommandLoadLockoutOptions | Load Global Settings
0x74 | CommandForgivePassbackCard | Forgive Passback for specific card
0x75 | CommandForgivePassbackEverybody | Forgive ALL passback
0x76 | CommandRecalibrate | Manually recalibate
0x77 | CommandCardEnable | Enable Card Command
0x78 | CommandCardDisable | Disable Card Command
0x79 | CommandSetUserAuthority | don’t worry about this
0x7B | CommandLoadLedOptions | Load Global Settings
0x7C | CommandLoadCrisisModeIOGroup | Load Global Settings
0x7D | CommandResetCrisisMode | Clear Crisis Mode
0x7E | CommandSetCrisisMode | Activate Crisis Mode
0x7F | CommandLoadWiegandStartStopSettings | Load Global Settings
0x8E | CommandLoad15MinuteScheduleHolidays | Load Holidays 15 minute schedule
0x8F | CommandLoadCardaxStartStopSettings | Load Global Settings
0x94 | CommandGetIOGroupCounters | don’t worry about this
0x95 | ResponseIOGroupCounters | don’t worry about this
0x96 | NotificationCounterBelowZero | don’t worry about this
0x9B | NotificationEventPreviousStateInvalid | don’t worry about this
0x9C | NotificationEventNewStateInvalid | don’t worry about this
0xA0 | NotificationEventIOLevel | Internal event issued when input changes state (must be mapped to IO group)
0xA1 | CommandLoadIOGroupArmSchedule | don’t worry about this
0xA2 | NotificationInputOutputGroupBitsRepaired | don’t worry about this
0xA3 | CommandInitializeBoardSection | Load Reader/Inputs/Outputs
0xA4 | NotificationEventIOPulse | Internal event issued when input changes state (must be mapped to IO group)
0xA5 | NotificationEventRecalibrate | Internal event issued when inputs are recalibrated
0xA6 | CommandBeginFlashLoadEz80 | Load flash
0xA7 | CommandLoadFlashPacketEz80 | Load flash
0xA8 | CommandValidateFlashEz80 | Validate only flash
0xA9 | CommandValidateThenBurnFlashEz80 | Validate and burn flash
0xAA | CommandLoadEZ80PrimaryLoopDelays | obsolete
0xAB | LoadAccessGroupCrisisGroup | Load crisis data for specific access group ( Edit Apply access group)
0xAD | NotificationCardNotInPanelMemory | Issued by panel when unlimited card feature is enabled an a not in system card is read
0xAE | CommandSetServerConsultationOptions | Access rule override enabled and timeout value
0xAF | NotificationCardHasBeenRead | Used to trigger LCD message for a person
0xB0 | NotificationCardRemoteAccessRuleOverride | Access rule override message from panel
0xB1 | CommandLoadMinuteScheduleDayTypes | Load 1 minute day types
0xB2 | CommandLoadMinuteScheduleTimePeriod | Load 1 minute time periods
0xB3 | CommandLoadMinuteScheduleTimePeriodsForDayType | Load 1 minute schedules
0xB4 | CommandCardRemoteAccessRuleOverrideReply | Access rule override answer from event server to pc
0xB6 | CommandBeginFlashLoad635 | Load flash
0xB7 | CommandLoadFlashPacket635 | Load flash
0xB8 | CommandValidateFlash635 | Load flash
0xB9 | CommandValidateThenBurnFlash635 | Load flash